## Summer_Weekday
Case | PV dc-generation (kWh) | Battery stored energy (kWh) | EV stored energy (kWh) | Potential inverter ac output (kWh) | Actual inverter ac output (kWh) | Total pv to battery (kWh) | Total inverter to load (kWh) | Total inverter to ev (kWh) | Total inverter to grid (kWh) | Total ev to load (kWh) | Total ev to grid (kWh) | Total grid to load (kWh) | Total grid to ev (kWh) | Total dc curtailment (kWh) | Total ac curtailment (kWh) | Total curtailment (kWh) | Total dc curtailment (%) | Total ac curtailment (%) | Total curtailment (%) | Active System Losses (kWh) | Reactive System Losses (kVArh) | Fairness Index (%) | Simulation Time (Sec)
load_pv_only_hourly_Summer_Weekday | 4332.387 | 0 | 0 | 3743.1081 | 3743.1081 | 0 | 833.405 | 0 | 2909.7031 | 0 | 0 | 2919.4137 | 0 | 430.7521 | 0 | 430.7521 | 9.9426 | 0 | 9.9426 | 139.402 | 161.8751 | 100 | 36.7963
load_pv_export_limit_hourly_Summer_Weekday | 10830.9675 | 0 | 0 | 9357.7703 | 5725.6051 | 0 | 2078.5561 | 0 | 3647.0491 | 0 | 0 | 1674.2625 | 0 | 1076.8802 | 3632.1652 | 4709.0454 | 9.9426 | 38.8144 | 43.4776 | 233.2268 | 284.8453 | 100 | 22.549
load_pv_battery_self_consumption_export_limit_hourly_Summer_Weekday | 10830.9675 | 195.4608 | 0 | 9197.4652 | 5703.9106 | 0 | 2204.5778 | 0 | 3499.3328 | 0 | 0 | 1548.2408 | 0 | 1060.1204 | 3493.5546 | 4553.675 | 9.7879 | 37.9839 | 42.0431 | 214.3026 | 261.2189 | 95.3963 | 18.8983
load_pv_battery_time_of_use_export_limit_hourly_Summer_Weekday | 10830.9675 | 83.4945 | 0 | 9396.8477 | 5931.1841 | 0 | 2155.1574 | 0 | 3776.0267 | 0 | 0 | 1597.6613 | 0 | 964 | 3465.6637 | 4429.6636 | 8.9004 | 36.8811 | 40.8981 | 221.5918 | 270.2238 | 91.0582 | 20.7556
load_pv_battery_self_consumption_managed_export_limit_hourly_Summer_Weekday | 10830.9675 | 195.4608 | 899.4918 | 9197.4652 | 5703.9106 | 0 | 2204.5778 | 89.1399 | 3410.193 | 0 | 0 | 1548.2408 | 160.5648 | 1060.1204 | 3493.5546 | 4553.675 | 9.7879 | 37.9839 | 42.0431 | 192.6294 | 234.1169 | 95.3963 | 24.1349
load_pv_battery_self_consumption_v2g_export_limit_hourly_Summer_Weekday | 10830.9675 | 195.4608 | 719.356 | 9197.4652 | 5703.9106 | 0 | 2204.5778 | 89.1399 | 3410.193 | 9.173 | 164.573 | 1539.0678 | 160.5648 | 1060.1204 | 3493.5546 | 4553.675 | 9.7879 | 37.9839 | 42.0431 | 203.6372 | 246.5283 | 95.3963 | 37.9677
load_pv_battery_time_of_use_managed_export_limit_hourly_Summer_Weekday | 10830.9675 | 83.4945 | 899.4918 | 9396.8477 | 5931.1841 | 0 | 2155.1574 | 86.7145 | 3689.3122 | 0 | 0 | 1597.6613 | 162.9902 | 964 | 3465.6637 | 4429.6636 | 8.9004 | 36.8811 | 40.8981 | 200.3618 | 243.6787 | 91.0582 | 19.5078
load_pv_battery_time_of_use_v2g_export_limit_hourly_Summer_Weekday | 10830.9675 | 83.4945 | 719.356 | 9396.8477 | 5931.1841 | 0 | 2155.1574 | 86.7145 | 3689.3122 | 9.173 | 164.573 | 1588.4883 | 162.9902 | 964 | 3465.6637 | 4429.6636 | 8.9004 | 36.8811 | 40.8981 | 212.6243 | 257.6691 | 91.0582 | 32.5522
load_pv_inv_con_hourly_Summer_Weekday | 10830.9675 | 0 | 0 | 9357.7703 | 9028.6182 | 0 | 2101.4368 | 0 | 6927.1814 | 0 | 0 | 1651.3819 | 0 | 1076.8802 | 329.1522 | 1406.0324 | 9.9426 | 3.5174 | 12.9816 | 784.2078 | 959.2873 | 89.6266 | 156.748
load_pv_battery_self_consumption_inv_con_hourly_Summer_Weekday | 10830.9675 | 164.6385 | 0 | 9226.1791 | 8921.9244 | 0 | 2258.6958 | 0 | 6663.2286 | 0 | 0 | 1494.1228 | 0 | 1060.1204 | 304.2548 | 1364.3751 | 9.7879 | 3.2977 | 12.597 | 734.6381 | 897.4995 | 90.1691 | 176.911
load_pv_battery_time_of_use_inv_con_hourly_Summer_Weekday | 10830.9675 | 33.75 | 0 | 9455.9951 | 9169.3354 | 0 | 2115.3829 | 0 | 7053.9525 | 0 | 0 | 1637.4358 | 0 | 964 | 286.6598 | 1250.6597 | 8.9004 | 3.0315 | 11.5471 | 771.6519 | 942.5089 | 90.5117 | 157.2041
load_pv_battery_self_consumption_managed_inv_con_hourly_Summer_Weekday | 10830.9675 | 164.6385 | 899.4918 | 9226.1791 | 8983.8308 | 0 | 2258.9688 | 219.5963 | 6505.2657 | 0 | 0 | 1493.8498 | 30.1083 | 1060.1204 | 242.3483 | 1302.4687 | 9.7879 | 2.6267 | 12.0254 | 695.2507 | 848.4176 | 91.9563 | 207.7704
load_pv_battery_self_consumption_v2g_inv_con_hourly_Summer_Weekday | 10830.9675 | 164.6385 | 719.356 | 9226.1791 | 8981.2355 | 0 | 2258.9688 | 219.5962 | 6502.6704 | 9.173 | 164.4966 | 1484.6768 | 30.1085 | 1060.1204 | 244.9437 | 1305.0641 | 9.7879 | 2.6549 | 12.0494 | 712.1551 | 867.6726 | 91.8853 | 203.6211
load_pv_battery_time_of_use_managed_inv_con_hourly_Summer_Weekday | 10830.9675 | 33.75 | 899.4918 | 9455.9951 | 9227.3771 | 0 | 2115.6327 | 207.4923 | 6904.2521 | 0 | 0 | 1637.1859 | 42.2124 | 964 | 228.618 | 1192.618 | 8.9004 | 2.4177 | 11.0112 | 732.5952 | 893.8826 | 92.2577 | 271.2006
load_pv_battery_time_of_use_v2g_inv_con_hourly_Summer_Weekday | 10830.9675 | 33.75 | 971.6696 | 9456.0166 | 9224.108 | 0 | 2115.6327 | 207.492 | 6900.9833 | 82.7415 | 508.0805 | 1554.4444 | 42.2127 | 964 | 231.9086 | 1195.9086 | 8.9004 | 2.4525 | 11.0416 | 770.0126 | 937.7432 | 92.1576 | 180.1833

## Summer_Weekend
Case | PV dc-generation (kWh) | Battery stored energy (kWh) | EV stored energy (kWh) | Potential inverter ac output (kWh) | Actual inverter ac output (kWh) | Total pv to battery (kWh) | Total inverter to load (kWh) | Total inverter to ev (kWh) | Total inverter to grid (kWh) | Total ev to load (kWh) | Total ev to grid (kWh) | Total grid to load (kWh) | Total grid to ev (kWh) | Total dc curtailment (kWh) | Total ac curtailment (kWh) | Total curtailment (kWh) | Total dc curtailment (%) | Total ac curtailment (%) | Total curtailment (%) | Active System Losses (kWh) | Reactive System Losses (kVArh) | Fairness Index (%) | Simulation Time (Sec)
load_pv_only_hourly_Summer_Weekend | 4332.387 | 0 | 0 | 3743.1081 | 3743.1081 | 0 | 923.1177 | 0 | 2819.9904 | 0 | 0 | 2883.9667 | 0 | 430.7521 | 0 | 430.7521 | 9.9426 | 0 | 9.9426 | 117.7785 | 135.165 | 100 | 38.0293
load_pv_export_limit_hourly_Summer_Weekend | 10830.9675 | 0 | 0 | 9357.7703 | 5725.6051 | 0 | 2231.6145 | 0 | 3493.9907 | 0 | 0 | 1575.4699 | 0 | 1076.8802 | 3632.1652 | 4709.0454 | 9.9426 | 38.8144 | 43.4776 | 209.1438 | 254.6571 | 100 | 25.9915
load_pv_battery_self_consumption_export_limit_hourly_Summer_Weekend | 10830.9675 | 206.7008 | 0 | 9184.2829 | 5685.6138 | 0 | 2347.6209 | 0 | 3337.9929 | 0 | 0 | 1459.4635 | 0 | 1063.7782 | 3498.6691 | 4562.4473 | 9.8216 | 38.0941 | 42.1241 | 191.4218 | 232.5877 | 96.0113 | 19.3857
load_pv_battery_time_of_use_export_limit_hourly_Summer_Weekend | 10830.9675 | 83.4945 | 0 | 9396.8477 | 5931.1841 | 0 | 2300.9373 | 0 | 3630.2468 | 0 | 0 | 1506.1471 | 0 | 964 | 3465.6637 | 4429.6636 | 8.9004 | 36.8811 | 40.8981 | 199.501 | 242.3215 | 91.0582 | 19.3902
load_pv_battery_self_consumption_managed_export_limit_hourly_Summer_Weekend | 10830.9675 | 206.7008 | 1078.7399 | 9184.2829 | 5685.6138 | 0 | 2347.6209 | 221.3554 | 3116.6375 | 0 | 0 | 1459.4635 | 371.6932 | 1063.7782 | 3498.6691 | 4562.4473 | 9.8216 | 38.0941 | 42.1241 | 153.4007 | 185.7003 | 96.0113 | 19.1784
load_pv_battery_self_consumption_v2g_export_limit_hourly_Summer_Weekend | 10830.9675 | 206.7008 | 897.5104 | 9184.2829 | 5685.6138 | 0 | 2347.6209 | 221.3554 | 3116.6375 | 24.0085 | 145.964 | 1435.455 | 371.6932 | 1063.7782 | 3498.6691 | 4562.4473 | 9.8216 | 38.0941 | 42.1241 | 154.3002 | 186.3116 | 96.0113 | 41.5909
load_pv_battery_time_of_use_managed_export_limit_hourly_Summer_Weekend | 10830.9675 | 83.4945 | 1078.7399 | 9396.8477 | 5931.1841 | 0 | 2300.9373 | 218.9301 | 3411.3167 | 0 | 0 | 1506.1471 | 374.1185 | 964 | 3465.6637 | 4429.6636 | 8.9004 | 36.8811 | 40.8981 | 162.6758 | 196.949 | 91.0582 | 19.012
load_pv_battery_time_of_use_v2g_export_limit_hourly_Summer_Weekend | 10830.9675 | 83.4945 | 897.5104 | 9396.8477 | 5931.1841 | 0 | 2300.9373 | 218.9301 | 3411.3167 | 21.7022 | 148.2702 | 1484.4449 | 374.1185 | 964 | 3465.6637 | 4429.6636 | 8.9004 | 36.8811 | 40.8981 | 165.5042 | 200.0213 | 91.0582 | 29.9353
load_pv_inv_con_hourly_Summer_Weekend | 10830.9675 | 0 | 0 | 9357.7703 | 9087.5312 | 0 | 2271.9438 | 0 | 6815.5874 | 0 | 0 | 1535.1406 | 0 | 1076.8802 | 270.2391 | 1347.1193 | 9.9426 | 2.8879 | 12.4377 | 750.9933 | 917.0594 | 91.0494 | 134.238
load_pv_battery_self_consumption_inv_con_hourly_Summer_Weekend | 10830.9675 | 186.4386 | 0 | 9203.4449 | 8953.9366 | 0 | 2408.5033 | 0 | 6545.4333 | 0 | 0 | 1398.5811 | 0 | 1063.5652 | 249.5084 | 1313.0736 | 9.8197 | 2.711 | 12.1233 | 705.1483 | 860.0277 | 91.6017 | 147.5383
load_pv_battery_time_of_use_inv_con_hourly_Summer_Weekend | 10830.9675 | 33.75 | 0 | 9455.9979 | 9223.8414 | 0 | 2288.5407 | 0 | 6935.3007 | 0 | 0 | 1518.5437 | 0 | 964 | 232.1565 | 1196.1565 | 8.9004 | 2.4551 | 11.0439 | 737.9091 | 899.4527 | 92.0218 | 152.9687
load_pv_battery_self_consumption_managed_inv_con_hourly_Summer_Weekend | 10830.9675 | 186.4386 | 1078.7399 | 9203.4449 | 9069.798 | 0 | 2408.5228 | 539.6135 | 6121.6617 | 0 | 0 | 1398.5616 | 53.4352 | 1063.5652 | 133.647 | 1197.2122 | 9.8197 | 1.4521 | 11.0536 | 612.62 | 745.8391 | 94.8948 | 224.6326
load_pv_battery_self_consumption_v2g_inv_con_hourly_Summer_Weekend | 10830.9675 | 186.4386 | 897.5104 | 9203.4449 | 9069.798 | 0 | 2408.5228 | 539.6135 | 6121.6617 | 21.5415 | 148.431 | 1377.0201 | 53.4351 | 1063.5652 | 133.6469 | 1197.2121 | 9.8197 | 1.4521 | 11.0536 | 615.1363 | 748.3575 | 94.8937 | 175.0486
load_pv_battery_time_of_use_managed_inv_con_hourly_Summer_Weekend | 10830.9675 | 33.75 | 1078.7399 | 9455.9979 | 9321.3406 | 0 | 2288.5548 | 524.5841 | 6508.2017 | 0 | 0 | 1518.5296 | 68.4646 | 964 | 134.6574 | 1098.6573 | 8.9004 | 1.424 | 10.1437 | 645.5099 | 786.0581 | 95.0358 | 243.4317
load_pv_battery_time_of_use_v2g_inv_con_hourly_Summer_Weekend | 10830.9675 | 33.75 | 1603.5939 | 9456.0061 | 9320.4633 | 0 | 2288.5548 | 524.5843 | 6507.3242 | 45.1744 | 285.0152 | 1473.3551 | 68.4643 | 964 | 135.5428 | 1099.5428 | 8.9004 | 1.4334 | 10.1518 | 654.09 | 795.6236 | 94.9793 | 159.3906

## Winter_Weekday
Case | PV dc-generation (kWh) | Battery stored energy (kWh) | EV stored energy (kWh) | Potential inverter ac output (kWh) | Actual inverter ac output (kWh) | Total pv to battery (kWh) | Total inverter to load (kWh) | Total inverter to ev (kWh) | Total inverter to grid (kWh) | Total ev to load (kWh) | Total ev to grid (kWh) | Total grid to load (kWh) | Total grid to ev (kWh) | Total dc curtailment (kWh) | Total ac curtailment (kWh) | Total curtailment (kWh) | Total dc curtailment (%) | Total ac curtailment (%) | Total curtailment (%) | Active System Losses (kWh) | Reactive System Losses (kVArh) | Fairness Index (%) | Simulation Time (Sec)
load_pv_only_hourly_Winter_Weekday | 1875.316 | 0 | 0 | 1763.8896 | 1763.8896 | 0 | 568.0261 | 0 | 1195.8635 | 0 | 0 | 3455.667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 126.2605 | 150.2879 | 100 | 39.8224
load_pv_export_limit_hourly_Winter_Weekday | 4688.2899 | 0 | 0 | 4409.7241 | 3688.8446 | 0 | 1387.3792 | 0 | 2301.4654 | 0 | 0 | 2636.3139 | 0 | 0 | 720.8795 | 720.8795 | 0 | 16.3475 | 15.3762 | 211.4136 | 257.3235 | 100 | 23.4575
load_pv_battery_self_consumption_export_limit_hourly_Winter_Weekday | 4688.2899 | 121.1092 | 0 | 4303.2574 | 3676.9212 | 0 | 1580.2931 | 0 | 2096.6282 | 0 | 0 | 2443.4 | 0 | 0 | 626.3361 | 626.3361 | 0 | 14.5549 | 13.3596 | 181.1817 | 219.6609 | 90.0593 | 25.6916
load_pv_battery_time_of_use_export_limit_hourly_Winter_Weekday | 4688.2899 | 33.75 | 0 | 4435.3132 | 3745.7659 | 0 | 1424.9204 | 0 | 2369.112 | 0 | 0 | 2598.7726 | 0 | 0 | 641.2808 | 641.2808 | 0 | 14.4585 | 13.6784 | 180.6378 | 218.4554 | 96.3288 | 21.4888
load_pv_battery_self_consumption_managed_export_limit_hourly_Winter_Weekday | 4688.2899 | 119.2786 | 899.4918 | 4305.073 | 3680.0596 | 0 | 1580.2931 | 90.0802 | 2009.6863 | 0 | 0 | 2443.4 | 159.6245 | 0 | 625.0134 | 625.0134 | 0 | 14.5181 | 13.3314 | 161.4988 | 195.0844 | 89.8857 | 21.8978
load_pv_battery_self_consumption_v2g_export_limit_hourly_Winter_Weekday | 4688.2899 | 119.2786 | 719.356 | 4305.073 | 3680.0596 | 0 | 1580.2931 | 90.0802 | 2009.6863 | 36.5626 | 137.1842 | 2406.8374 | 159.6245 | 0 | 625.0134 | 625.0134 | 0 | 14.5181 | 13.3314 | 159.2934 | 191.712 | 89.8857 | 70.3272
load_pv_battery_time_of_use_managed_export_limit_hourly_Winter_Weekday | 4688.2899 | 33.75 | 899.4918 | 4435.3132 | 3745.7659 | 0 | 1424.9204 | 87.561 | 2281.5509 | 0 | 0 | 2598.7726 | 162.1436 | 0 | 641.2808 | 641.2808 | 0 | 14.4585 | 13.6784 | 161.7896 | 194.8484 | 96.3288 | 19.7208
load_pv_battery_time_of_use_v2g_export_limit_hourly_Winter_Weekday | 4688.2899 | 33.75 | 719.356 | 4435.3132 | 3745.7659 | 0 | 1424.9204 | 87.561 | 2281.5509 | 37.0073 | 136.7395 | 2561.7653 | 162.1436 | 0 | 641.2808 | 641.2808 | 0 | 14.4585 | 13.6784 | 161.8292 | 194.2576 | 96.3288 | 28.2658
load_pv_inv_con_hourly_Winter_Weekday | 4688.2899 | 0 | 0 | 4409.7241 | 4409.7241 | 0 | 1397.5839 | 0 | 3012.1402 | 0 | 0 | 2626.1092 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 305.4454 | 370.7323 | 100 | 137.7131
load_pv_battery_self_consumption_inv_con_hourly_Winter_Weekday | 4688.2899 | 100.6825 | 0 | 4322.6185 | 4322.6185 | 0 | 1610.9541 | 0 | 2711.6644 | 0 | 0 | 2412.739 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 252.0913 | 304.9855 | 100 | 132.1938
load_pv_battery_time_of_use_inv_con_hourly_Winter_Weekday | 4688.2899 | 33.75 | 0 | 4445.1992 | 4396.9327 | 0 | 1372.5495 | 0 | 3072.6496 | 0 | 0 | 2651.1435 | 0 | 0 | 0.00010288 | 0.00010288 | 0 | 2.3144e-06 | 2.1944e-06 | 270.3027 | 326.4494 | 95.0808 | 142.5214
load_pv_battery_self_consumption_managed_inv_con_hourly_Winter_Weekday | 4688.2899 | 96.2486 | 899.4918 | 4327.6349 | 4327.6349 | 0 | 1606.3695 | 129.895 | 2591.3704 | 0 | 0 | 2417.3236 | 119.8097 | 0 | 0 | 0 | 0 | 0 | 0 | 222.5886 | 268.9455 | 100 | 187.985
load_pv_battery_self_consumption_v2g_inv_con_hourly_Winter_Weekday | 4688.2899 | 96.2486 | 719.356 | 4327.6349 | 4327.6349 | 0 | 1606.3695 | 129.895 | 2591.3704 | 36.5626 | 137.1842 | 2380.761 | 119.8097 | 0 | 0 | 0 | 0 | 0 | 0 | 221.6715 | 267.3169 | 100 | 144.6204
load_pv_battery_time_of_use_managed_inv_con_hourly_Winter_Weekday | 4688.2899 | 33.75 | 899.4918 | 4445.1992 | 4396.9327 | 0 | 1372.5495 | 119.7082 | 2952.9414 | 0 | 0 | 2651.1435 | 129.9964 | 0 | 0.00010289 | 0.00010289 | 0 | 2.3146e-06 | 2.1946e-06 | 240.0622 | 289.2729 | 95.0808 | 223.905
load_pv_battery_time_of_use_v2g_inv_con_hourly_Winter_Weekday | 4688.2899 | 33.75 | 970.7047 | 4445.1995 | 4396.9311 | 0 | 1372.5495 | 119.7082 | 2952.9398 | 151.4646 | 440.314 | 2499.6789 | 129.9964 | 0 | 0.001966 | 0.001966 | 0 | 4.4228e-05 | 4.1935e-05 | 233.5749 | 280.6039 | 95.0806 | 132.6784

## Winter_Weekend
Case | PV dc-generation (kWh) | Battery stored energy (kWh) | EV stored energy (kWh) | Potential inverter ac output (kWh) | Actual inverter ac output (kWh) | Total pv to battery (kWh) | Total inverter to load (kWh) | Total inverter to ev (kWh) | Total inverter to grid (kWh) | Total ev to load (kWh) | Total ev to grid (kWh) | Total grid to load (kWh) | Total grid to ev (kWh) | Total dc curtailment (kWh) | Total ac curtailment (kWh) | Total curtailment (kWh) | Total dc curtailment (%) | Total ac curtailment (%) | Total curtailment (%) | Active System Losses (kWh) | Reactive System Losses (kVArh) | Fairness Index (%) | Simulation Time (Sec)
load_pv_only_hourly_Winter_Weekend | 1875.316 | 0 | 0 | 1763.8896 | 1763.8896 | 0 | 673.4385 | 0 | 1090.4512 | 0 | 0 | 3704.909 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 132.0054 | 156.5305 | 100 | 54.6192
load_pv_export_limit_hourly_Winter_Weekend | 4688.2899 | 0 | 0 | 4409.7241 | 3688.8446 | 0 | 1673.4055 | 0 | 2015.4391 | 0 | 0 | 2704.942 | 0 | 0 | 720.8795 | 720.8795 | 0 | 16.3475 | 15.3762 | 191.2959 | 232.1788 | 100 | 20.5969
load_pv_battery_self_consumption_export_limit_hourly_Winter_Weekend | 4688.2899 | 105.8447 | 0 | 4317.6051 | 3694.6105 | 0 | 1878.7835 | 0 | 1815.827 | 0 | 0 | 2499.564 | 0 | 0 | 622.9946 | 622.9946 | 0 | 14.4292 | 13.2883 | 161.9885 | 195.7963 | 89.6199 | 24.6058
load_pv_battery_time_of_use_export_limit_hourly_Winter_Weekend | 4688.2899 | 33.75 | 0 | 4435.3132 | 3745.7659 | 0 | 1744.8624 | 0 | 2049.17 | 0 | 0 | 2633.4851 | 0 | 0 | 641.2808 | 641.2808 | 0 | 14.4585 | 13.6784 | 159.6445 | 192.4472 | 96.3288 | 20.0982
load_pv_battery_self_consumption_managed_export_limit_hourly_Winter_Weekend | 4688.2899 | 101.5071 | 1078.7399 | 4322.1486 | 3699.154 | 0 | 1875.4171 | 201.9392 | 1621.7977 | 0 | 0 | 2502.9304 | 391.1094 | 0 | 622.9946 | 622.9946 | 0 | 14.414 | 13.2883 | 133.3412 | 160.6192 | 89.6199 | 21.6467
load_pv_battery_self_consumption_v2g_export_limit_hourly_Winter_Weekend | 4688.2899 | 101.5071 | 897.5104 | 4322.1486 | 3699.154 | 0 | 1875.4171 | 201.9392 | 1621.7977 | 44.2333 | 125.7392 | 2458.6971 | 391.1094 | 0 | 622.9946 | 622.9946 | 0 | 14.414 | 13.2883 | 123.6348 | 148.5811 | 89.6199 | 44.3005
load_pv_battery_time_of_use_managed_export_limit_hourly_Winter_Weekend | 4688.2899 | 33.75 | 1078.7399 | 4435.3132 | 3745.7659 | 0 | 1744.8624 | 197.3433 | 1851.8267 | 0 | 0 | 2633.4851 | 395.7054 | 0 | 641.2808 | 641.2808 | 0 | 14.4585 | 13.6784 | 134.6711 | 162.0524 | 96.3288 | 19.9826
load_pv_battery_time_of_use_v2g_export_limit_hourly_Winter_Weekend | 4688.2899 | 33.75 | 897.5104 | 4435.3132 | 3745.7659 | 0 | 1744.8624 | 197.3433 | 1851.8267 | 45.4808 | 124.4916 | 2588.0043 | 395.7054 | 0 | 641.2808 | 641.2808 | 0 | 14.4585 | 13.6784 | 126.0638 | 151.3687 | 96.3288 | 28.8627
load_pv_inv_con_hourly_Winter_Weekend | 4688.2899 | 0 | 0 | 4409.7241 | 4409.7241 | 0 | 1703.0634 | 0 | 2706.6607 | 0 | 0 | 2675.2841 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 268.4687 | 325.4065 | 100 | 131.2089
load_pv_battery_self_consumption_inv_con_hourly_Winter_Weekend | 4688.2899 | 59.1978 | 0 | 4362.7383 | 4362.7383 | 0 | 1949.9803 | 0 | 2412.758 | 0 | 0 | 2428.3672 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 218.2941 | 263.7471 | 100 | 143.8015
load_pv_battery_time_of_use_inv_con_hourly_Winter_Weekend | 4688.2899 | 33.75 | 0 | 4445.1992 | 4396.9327 | 0 | 1689.523 | 0 | 2755.6762 | 0 | 0 | 2688.8245 | 0 | 0 | 3.1858e-07 | 3.1858e-07 | 0 | 7.1668e-09 | 6.7952e-09 | 234.82 | 282.9118 | 95.0808 | 115.9935
load_pv_battery_self_consumption_managed_inv_con_hourly_Winter_Weekend | 4688.2899 | 56.5052 | 1078.7399 | 4367.1727 | 4367.1727 | 0 | 1934.3177 | 303.2002 | 2129.6548 | 0 | 0 | 2444.0298 | 289.8484 | 0 | 0 | 0 | 0 | 0 | 0 | 166.2264 | 200.5762 | 100 | 162.2645
load_pv_battery_self_consumption_v2g_inv_con_hourly_Winter_Weekend | 4688.2899 | 56.5052 | 897.5104 | 4367.1727 | 4367.1727 | 0 | 1934.3177 | 303.2002 | 2129.6548 | 48.0591 | 121.9133 | 2395.9707 | 289.8484 | 0 | 0 | 0 | 0 | 0 | 0 | 158.478 | 190.951 | 100 | 166.9628
load_pv_battery_time_of_use_managed_inv_con_hourly_Winter_Weekend | 4688.2899 | 33.75 | 1078.7399 | 4445.1992 | 4396.9327 | 0 | 1689.523 | 292.1127 | 2463.5635 | 0 | 0 | 2688.8245 | 300.9359 | 0 | 3.1866e-07 | 3.1866e-07 | 0 | 7.1687e-09 | 6.797e-09 | 183.9215 | 221.1435 | 95.0808 | 130.6864
load_pv_battery_time_of_use_v2g_inv_con_hourly_Winter_Weekend | 4688.2899 | 33.75 | 1603.5939 | 4445.1992 | 4396.9326 | 0 | 1689.523 | 292.1127 | 2463.5634 | 83.9251 | 246.2645 | 2604.8993 | 300.9359 | 0 | 0.00012633 | 0.00012633 | 0 | 2.842e-06 | 2.6946e-06 | 169.5655 | 203.1067 | 95.0808 | 112.6227